## Slide 1
60 L
pump
valve
High High water level
Low Low water level
High water level
low water level
0 L
30 L
50 L
10 L
55L
5 L
Water level sensor (analog)
Output
input

## Slide 2
Stop
Auto
Manual
Start pump
Start valve
stop valve
Stop pump
There will be some limits when the water level become HH or LL
(some push button wont work depend on the condition of water)
The system will run in automatically way even if the water level become HH or LL the system will work in automatically way to solve this problem
The process will stop but the alarms system will still on